## table
name: | L of MAIN MACHINE ROOM
density in API: |  |  | xxx
viscosity at 38 degree celsius in cst: |  |  | xxx
stock point in degree Celsius: |  |  | xxx
compounds of distillation (%m) in degree Celsius: |  |  |  | C5-85: | xxx
|  |  |  | 85-165: | xxx
|  |  |  | 165-200: | xxx
|  |  |  | 200-350: | xxx
fluorescence: |  | instrument | Perkin-Elmer 650-40 |  |  | date | yyyy-mm-dd | analyst | NN
|  |  | excitation/bandwidth in nm: |  |  | emission range/bandwidth in nm:
|  |  | 253/5 |  |  | 270-700/3
|  |  | 266/5 |  |  | 280-700/3
|  |  | 308/5 |  |  | 320-700/3 | efficiency relative to Nigerian light REF: |  |  | xxxx
|  |  | 337/5 |  |  | 350-700/3
|  |  | 355/5 |  |  | 370-700/3
|  |  | 368/5 |  |  | 390-700/3
absorbance: |  | instrument | Kontron Uvicon 820 |  |  | date | yyy-mm-dd | analyst | NN
wavelength |  | absorption | /////////////////////// | /////////////////////// | /////////////////////// | \\\\\\\\\\\\\\\\\\\\\\\\ | \\\\\\\\\\\\\\\\\\\\\\\\ | \\\\\\\\\\\\\\\\\\\\\\\\
in nm |  | coeficient | /////////////////////// | flourescence | emission | x 0.01 | \\\\\\\\\\\\\\\\\\\\\\\\ | \\\\\\\\\\\\\\\\\\\\\\\
|  | in 1/um | 254 | 266 | 308 | 337 | 355 | 368
250 |  | 2.8423
260 |  | 2.6583
270 |  | 2.4626 | 0.006
280 |  | 1.8356 | 0.005 | 0.002
290 |  | 1.4216 | 0.007 | 0.01
300 |  | 1.1239 | 0.009 | 0.015
310 |  | 0.81143 | 0.05 | 0.072
320 |  | 0.56137 | 0.082 | 0.105 | 0.045
330 |  | 0.46397 | 0.225 | 0.269 | 0.169
340 |  | 0.33664 | 0.364 | 0.37 | 0.267
350 |  | 0.25305 | 0.554 | 0.56 | 0.398 | 0.14
360 |  | 0.19825 | 0.85 | 0.857 | 0.581 | 0.257
370 |  | 0.16233 | 0.868 | 0.891 | 0.618 | 0.35 | 0.172
380 |  | 0.13885 | 0.947 | 0.975 | 0.701 | 0.484 | 0.313
390 |  | 0.12135 | 0.905 | 0.922 | 0.686 | 0.538 | 0.422 | 0.32
400 |  | 0.10707 | 0.898 | 0.942 | 0.739 | 0.569 | 0.504 | 0.405
410 |  | 0.095097 | 0.868 | 0.923 | 0.751 | 0.578 | 0.561 | 0.515
420 |  | 0.084275 | 0.784 | 0.84 | 0.71 | 0.533 | 0.527 | 0.526
430 |  | 0.074373 | 0.734 | 0.796 | 0.687 | 0.528 | 0.531 | 0.536
440 |  | 0.067005 | 0.68 | 0.728 | 0.642 | 0.508 | 0.506 | 0.527
450 |  | 0.060328 | 0.609 | 0.652 | 0.585 | 0.477 | 0.476 | 0.495
460 |  | 0.054341 | 0.554 | 0.59 | 0.54 | 0.454 | 0.458 | 0.473
470 |  | 0.050196 | 0.488 | 0.514 | 0.473 | 0.414 | 0.42 | 0.435
480 |  | 0.046052 | 0.434 | 0.453 | 0.426 | 0.381 | 0.391 | 0.407
490 |  | 0.042137 | 0.379 | 0.391 | 0.377 | 0.345 | 0.36 | 0.373
500 |  | 0.039144 | 0.322 | 0.329 | 0.325 | 0.302 | 0.318 | 0.33
510 |  | 0.036841 | 0.276 | 0.285 | 0.281 | 0.266 | 0.283 | 0.296
520 |  | 0.034999 | 0.243 | 0.249 | 0.248 | 0.238 | 0.256 | 0.268
530 |  | 0.032927 | 0.21 | 0.215 | 0.215 | 0.209 | 0.226 | 0.239
540 |  | 0.031085 | 0.18 | 0.186 | 0.187 | 0.183 | 0.2 | 0.212
550 |  | 0.029703 | 0.161 | 0.161 | 0.163 | 0.166 | 0.178 | 0.189
560 |  | 0.028092 | 0.139 | 0.141 | 0.143 | 0.144 | 0.158 | 0.169
570 |  | 0.027401 | 0.123 | 0.125 | 0.127 | 0.128 | 0.141 | 0.151
580 |  | 0.026249 | 0.107 | 0.108 | 0.111 | 0.113 | 0.125 | 0.135
590 |  | 0.025098 | 0.093 | 0.098 | 0.098 | 0.101 | 0.112 | 0.121
600 |  | 0.023947 | 0.085 | 0.083 | 0.087 | 0.089 | 0.099 | 0.108
610 |  | 0.023256 | 0.072 | 0.073 | 0.075 | 0.078 | 0.088 | 0.094
620 |  | 0.022105 | 0.064 | 0.065 | 0.067 | 0.069 | 0.078 | 0.084
630 |  | 0.021414 | 0.061 | 0.052 | 0.057 | 0.06 | 0.068 | 0.074
640 |  | 0.020723 | 0.047 | 0.047 | 0.049 | 0.054 | 0.06 | 0.065
650 |  | 0.020263 | 0.048 | 0.039 | 0.044 | 0.045 | 0.053 | 0.058
660 |  | 0.019802 | 0.031 | 0.033 | 0.039 | 0.039 | 0.046 | 0.05
670 |  | 0.019572 | 0.024 | 0.031 | 0.032 | 0.034 | 0.04 | 0.044
680 |  | 0.018651 | 0.035 | 0.024 | 0.029 | 0.029 | 0.034 | 0.038
690 |  | 0.018421 | 0.026 | 0.02 | 0.026 | 0.026 | 0.03 | 0.034
700 |  | 0.01819 |  | 0.009 | 0.025 | 0.025 | 0.027 | 0.026